## DashBoard
Query | Responde | Remarks
C | 10 | Maximum number of cables allowed to be connected to each substation
Solver | 1 | PuLP (yet to be implemented): 0 ; Gurobi: 1
OWFCR_Type | 2 | 0 means OWFCR; 1 considers String Structure; 2 considers Branching Penalties; 3 considers Closed Loop; 4 considers Offshore Transformer Model
d_max | 2 | Study considered turbines with at most two entering cables [DO NOT CHANGE as it will require a little extra data in the first few lines in code]
pi_2 | 25 | Estimated extra cost of 2 cables entering a turbine is 15 kEuro for the disconnector, plus 10 kEuro for installation

## Turbine Locations
Turbine No. | Latitude | Longitude | Power
T1 | -1632.0007 | 1612.0689 | 8
T2 | -1112.0006 | 1431.0348 | 8
T3 | -568.0001 | 1284.4829 | 8
T4 | -2280.0008 | 1043.1037 | 8
T5 | -1688.0004 | 818.966 | 8
T6 | -1120.0003 | 620.6899 | 8
T7 | -536.0001 | 456.8966 | 8
T8 | -600.0001 | 2655.172 | 8
T9 | -1144.0009 | 2189.6557 | 8
T10 | -2888.0012 | 508.6207 | 8
T11 | -2384.0011 | 258.6212 | 8
T12 | -1888.0006 | 43.1037 | 8
T13 | -1360.0008 | -146.5513 | 8
T14 | -824.0006 | -293.1033 | 8
T15 | -255.9999 | -387.9305 | 8
T16 | 319.9999 | -439.6546 | 8
T17 | 768.0001 | -129.3099 | 8
T18 | 1520 | -301.7236 | 8
T19 | 2880.0006 | -2637.9306 | 8
T20 | -2976.0009 | -275.8619 | 8

## Substation Locations
SubStation No. | Latitude | Longitude | Power
SS1 | 0 | 0 | -1

## Steiner Locations
Steiner No. | Latitude | Longitude | Power
SN1 | 10 | 10 | 0

## Cable Specifications
Cable Types | Capacity | Cost
C1 | 24 | 393
C2 | 32 | 460
C3 | 40 | 540