## DashBoard
Query | Responde | Remarks
C | 10 | Maximum number of cables allowed to be connected to each substation
Solver | 0 | PuLP: 0 ; Gurobi: 1
OWFCR_Type | 2 | 0 means OWFCR; 1 considers String Structure; 2 considers Branching Penalties; 3 considers Closed loop; 4 considers Offshore Transformer Model
d_max | 2 | Study considered turbines with at most two entering cables
pi_2 | 25 | Estimated extra cost of 2 cables entering a turbine is 15 kEuro for the disconnector, plus 10 kEuro for installation

## Turbine Locations
Turbine No. | Latitude | Longitude | Power
T1 | -1632.0007 | 1612.0689 | 8
T2 | -1112.0006 | 1431.0348 | 8
T3 | -568.0001 | 1284.4829 | 8
T4 | -2280.0008 | 1043.1037 | 8
T5 | -1688.0004 | 818.966 | 8
T6 | -1120.0003 | 620.6899 | 8
T7 | -536.0001 | 456.8966 | 8
T8 | -600.0001 | 2655.172 | 8
T9 | -1144.0009 | 2189.6557 | 8
T10 | -2888.0012 | 508.6207 | 8
T11 | -2384.0011 | 258.6212 | 8
T12 | -1888.0006 | 43.1037 | 8
T13 | -1360.0008 | -146.5513 | 8
T14 | -824.0006 | -293.1033 | 8
T15 | -255.9999 | -387.9305 | 8
T16 | 319.9999 | -439.6546 | 8
T17 | 768.0001 | -129.3099 | 8
T18 | 1520 | -301.7236 | 8
T19 | 2880.0006 | -2637.9306 | 8
T20 | -2976.0009 | -275.8619 | 8
T21 | -2496.001 | -525.8621 | 8
T22 | -2000.0006 | -741.3788 | 8
T23 | -1464.0005 | -922.4135 | 8
T24 | -920.0006 | -1077.5858 | 8
T25 | -384.0005 | -1155.1723 | 8
T26 | 303.9999 | -1146.5513 | 8
T27 | 912 | -1163.7927 | 8
T28 | 1600.0003 | -1137.9309 | 8
T29 | 2264.0005 | -1172.4137 | 8
T30 | 2920.0006 | -1137.9309 | 8
T31 | -1056.0003 | -1801.7239 | 8
T32 | -528.0004 | -1913.7925 | 8
T33 | 56 | -1999.9994 | 8
T34 | 624.0001 | -2043.1031 | 8
T35 | 1152.0003 | -2051.7235 | 8
T36 | 1752.0004 | -2051.7235 | 8
T37 | 2312.0005 | -1974.1376 | 8
T38 | 2856.0006 | -1887.9308 | 8
T39 | -400.0005 | -2732.7585 | 8
T40 | 144 | -2810.3443 | 8
T41 | 752.0001 | -2827.5857 | 8
T42 | 1304.0002 | -2793.1029 | 8
T43 | 1872.0003 | -2758.6202 | 8
T44 | 2432.0006 | -2672.4134 | 8
T45 | 64 | -3698.2754 | 8
T46 | 664.0001 | -3706.8961 | 8
T47 | 1208.0002 | -3646.5513 | 8
T48 | 1744.0004 | -3620.6893 | 8
T49 | 2328.0005 | -3551.7238 | 8
T50 | -560 | 1969.8274 | 8

## Substation Locations
SubStation No. | Latitude | Longitude | Power
SS1 | 0 | 0 | -1

## Steiner Locations
Steiner No. | Latitude | Longitude | Power
SN1 | 10 | 10 | 0

## Cable Specifications
Cable Types | Capacity | Cost
C1 | 24 | 393
C2 | 32 | 460
C3 | 40 | 540